## Sheet1
Group | Location | Title | Manufacturer | Model | Qty | GMP | New or Exisitng | Cost | Total Cost | To Purchase Cos | Utility Requirements | Comments
ARD/QC | Room 2 | HPLC System | Aglient Technologies | 1290 Infinity 3 | 2 |  | N | 150000 | 300000 | 300000 | Power: 230V, Single Phase, Type G
| Bench top |  |  | G7117A DAD |  |  |  |  | 0
|  |  |  | G7116B MCT |  |  |  |  | 0
|  |  |  | G7167B Multisampler |  |  |  |  | 0
|  |  |  | G7120A Highspeed Pump |  |  |  |  | 0
0
| Bench top | HPLC/Mass Spectrometer System | Agilent Technologies | G7120A Highspeed Pump, | 1 |  | N | 200000 | 200000 | 200000 | Power: 230V, Single Phase, Type G Nitrogen Exhaust
|  |  |  | G7167B Multisampler, | 1 |  |  |  | 0 | 0
|  |  |  | G7118B MCT, | 1 |  |  |  | 0 | 0
|  |  |  | G7117B DAD, | 1 |  |  |  | 0 | 0
|  |  |  | G6160A Infinity Lab | 1 |  |  |  | 0 | 0
|  |  |  | LC/MSD iQ Mass Spectrometer | 1 |  |  |  | 0 | 0
|  |  |  | Vacuum Pump with Quiet Cover, Mobile Stand | 1 |  |  |  | 0 | 0
| or GCMS |  |  |  | 1 |  | N | 120000 | 120000 | 120000 |  | GCMS
|  | nitrogen gas generator |  |  | 1 |  | N | 8000 | 8000 | 8000
|  | hydrogen gas generator |  |  | 1 |  | N | 8000 | 8000 | 8000
| Benchtop | Electronic Pipette | Handystep |  | 2 |  | N | 800 | 1600 | 1600 | Power: 230V, Single Phase, Type G
| Undersink | MILLIQ | Millipore | IQ 7000 ? | 1 |  | N | 20000 | 20000 | 20000
| Large Fumehood | Prep HPLC | Hanbon | Newstyle NS 4330 | 1 |  | N |  | 50000 | 50000 | Power: 230V, Single Phase, Type G | 0.01-299.99 ml/min CE availability TBC. Guestimated cost.
[9 empty] | 0 | 0
| Fumhood | pH | Mettler Toledo | SevenExcellence | 1 |  | N | 20000 | 20000 | 20000 | Power: 230V, Single Phase, Type G
0
| Bench top | SFC | Waters | Acquity UPC2 | 1 |  | E | 150000 | 150000 |  | Power: 230V, Single Phase, Type G Liquid CO2 | Might be less depending on the actual configuration. Maybe able to use equipment upstairs, depends on philosophy
0
| Bench top (if sapce is limited, remove another FH?) | GC | Aglient | 8890B GC | 1 |  | E | 80000 | 80000 |  | Power: 230V, Single Phase, Type G Helium Nitrogen | Maybe able to use equipment upstairs, depends on philosophy
0
| Bench top | Mass Spec | Aglient | 1290 Infinty 2 | 1 |  | N | 140000 | 140000 | 140000 | Power: 230V, Single Phase, Type G Nitrogen Exhaust
| Fumehood | KF Coulimetric | Metrohm | 852 Titrando | 1 |  | N | 45000 | 45000 | 45000 | Power: 230V, Single Phase, Type G
| Balance | [8 empty] | 0
[9 empty] | 0 | 0
Isolators | Room 3 | [7 empty] | 0 | 0
[9 empty] | 0 | 0
| Isolator 2 | DSC3 Star System (or TGA?) | Mettler Toledo |  | 1 |  |  |  | 0 | 0
| Under isolator 2 | Huber TC45 with immersion cooler | Huber | TC45 | 1 |  |  | 4345 | 4345 | 4345 | Power: 230V, Single Phase, Type G
| Isolator 1 | Karl Fisher Titrator | Mettler Toledo | T50 | 1 |  | N | 30000 | 30000 | 30000 |  | Mettler Toledo T50 is a titrator not a KF
| Benchtop | Benchtop Powder X-ray Diffractor | D2 | Bruker | 1 |  | E | 200000 | 200000 |  |  | Malvern system from Boston
| Isolator 5 | Particle Size | Malvern | Mastersizer | 1 |  | N | 160000 | 160000 | 160000 |  | Includes GMP software and IQ/OQ
| Benchtop | Lyophiliser | Tofflon | tbc | 1 |  | N | 100000 | 100000 | 100000 |  | estimate without quote from supplier.
| Isolator 1 | Analytical Balance | Mettler Toledo | XP205 | 1 |  |  | 20000 | 20000 | 20000 | Power: 230V, Single Phase, Type G
| isolator 1 | Microbalance |  |  | 1 |  | N | 25000 | 25000 | 25000 | Power: 230V, Single Phase, Type G
| isolator 3 | Easymax Reactor System | Mettler Toledo | Easymax 102 | 1 |  | N | 80000 | 80000 | 80000
|  |  | Mettler Tolesdo SP-50 Dosing units | SP-50 | 1 |  | N |  | 0 | 0
| under isolator 3 | Chiller unit | Julabo | FL1703 | 1 |  | E | 12000 | 12000 |  | Power: 230V, Single Phase, Type G
| isolator 3 | Filtration equipment | [6 empty] | 0 |  |  | Essentially glassware. Could purchase pump or connect to house vac - both would have in-line filters
| Isolator 4 | Drying Oven | Salvis | Vacucentre VC50 | 2 |  | N/E | 18000 | 36000 | 36000 | Power: 230V, Single Phase, Type G Vacuum | Propose 2 ovens. Could repurpose unused one in 1.112?
| Isolator 2 | FTIR | Thermo | NICOLET APEX KBR WITH PURGE KIT | 1 |  | E | 28000 | 28000 |  |  | includes Hardware, software and installation from Chennai, no good information on system suitability.
| Isolator | Crystal 16 |  |  | 1 |  | E |  |  |  |  | from Chennai
0
0
CRD | Room 4 | Laboratory Fridge | Lec |  | 1 |  |  | 750 | 750 | 750 | Power: 230V, Single Phase, Type G
|  | Laboratory Freezer | Lec |  | 1 |  |  | 750 | 750 | 750 | Power: 230V, Single Phase, Type G
| FH1 | Reactor Ready Twin reactor | Reactor Ready vessels |  | 2 |  | N | 10000 | 20000 | 20000
|  |  | Mettler Toledo SP-50 Dosing units | SP-50 | 2 |  | N | 800 | 1600 | 1600
|  |  | RX10 Controller |  | 2 |  | N | 1200 | 2400 | 2400
|  |  | Heidolph Motors |  | 2 |  | N | 800 | 1600 | 1600
|  |  | Reactor Ready Stand |  | 1 |  | N | 1000 | 1000 | 1000
|  | Vacuum Pump | Vacuubrand | PC3001 Vario Plus | 1 |  | N | 5000 | 5000 | 5000 | Power: 230V, Single Phase, Type G
|  | Recirculating Chiller | Huber | Ministat 240 | 2 |  | N | 11500 | 23000 | 23000 | Power: 230V, Single Phase, Type G
| Either/or | Analytical Balance | Mettler Toledo | XP205 | 1 |  | N | 20000 | 20000 | 20000 | Power: 230V, Single Phase, Type G
|  | Large Scale Balance | Sartorius |  | 1 |  | N | 1000 | 1000 | 1000 | Power: 230V, Single Phase, Type G
[9 empty] | 0 | 0
| FH2 | Easymax Reactor System | Mettler Toledo | Easymax 102 | 2 |  | N | 80000 | 160000 | 160000 | Power: 230V, Single Phase, Type G Nitrogen
|  |  | Mettler Toledo SP-50 Dosing units | SP-50 | 2 |  | N |  | 0 | 0
|  | Chiller unit | Julabo | FL1703 | 2 |  | N | 12000 | 24000 | 24000 | Power: 230V, Single Phase, Type G
[9 empty] | 0 | 0
| FH3 | Easymax Reactor System | Mettler Toledo | Easymax 102 | 1 |  | N |  | 0 | 0 | Power: 230V, Single Phase, Type G Nitrogen
|  |  | Mettler Tolesdo SP-50 Dosing units | SP-50 | 1 |  | N | 80000 | 80000 | 80000
|  | Chiller unit | Julabo | FL1703 | 1 |  | N | 12000 | 12000 | 12000 | Power: 230V, Single Phase, Type G
|  | Stem blocks | Electrothermal |  | 2 |  | N | 1000 | 2000 | 2000 | Power: 230V, Single Phase, Type G Nitrogen
|  | Stirrer hotplate | IKA |  | 2 |  | E | 600 | 1200 |  | Power: 230V, Single Phase, Type G
|  | FBRM/BLAZE/PVM |  |  | 1 | [6 empty] | Cryst can determine which item based on their preference.
| FH4 - Flexible | Biotage | Biotage | F150 or F75? and UV monitor | 1 |  | N | 12000 | 12000 | 12000 | Power | F150 - 250-500g F75 - 40-100g
|  | Rotary Evaporator | Heidolph | HEI-VAP Expert | 1 |  | N | 6000 | 6000 | 6000 | Power: 230V, Single Phase, Type G
|  | Vacuum Pump | Vacuubrand | PC3001 Vario Plus | 1 |  | N | 5000 | 5000 | 5000 | Power: 230V, Single Phase, Type G | For rotary evaporator
|  | UV Lamp/viewer | [5 empty] | 1500 | 0 | 0 | Power
|  | Heat gun | [5 empty] | 200 | 0 | 0 | Power
|  | Hydrogenation BCP2 |  |  |  |  | E |  | 0 |  | power hydrogen from levcture bottles
|  | Overhead stirrer |  |  | 1 |  | N | 1000 | 1000 | 1000 | compressed air, power
[9 empty] | 0 | 0
| Software | TBD |  |  | 1 |  |  | 200000 | 200000 | 200000
0
0
| Miscellaneous | [8 empty] | 0
|  | Dishwasher/glasswash | Miele | Undercounter Laboratory Glassware Washer PG8583CD | 1 |  | N | 10000 | 10000 | 10000 | Power: 230V, Single Phase, Type G | This might be too big for the space but entered in for estimate.
Crystallisation equipment??
GC Extract?
Label Printers?
Telephone?
[8 empty] | Total Costs | 2428245 | 1957045
[9 empty] | All Costs | To purchase costs